## Sheet1
Item | Shelf | Level
PCB Blade calibration tool | A | 3
VisionRT Emily | A | 3
UCL item | A | 3
Mains lead | A | 2
Electrometer | A | 2
EPD | A | 2
Microdiamond | A | 2
Farmer chamber (2) | A | 2
Semiflex chamber (3) | A | 2
Roos chamber (6) | A | 2
Markus | A | 2
Pinpoint | A | 2
Cable reel | A | 2
4000 | A | 1
124 | A | 1
XRV cables | A | 1
Talon 124 | A | 1
VisionRT switchbox | A | 1
VisionRT cube | A | 1
VisionRT rigid body | A | 1
Past point adapter base | A | 0
Reflector | A | 0
Tripod | A | 0
Laser tracker calibration arm | A | 0
Laser tracker | A | 0
Faraday cup | A | 0
Ranger | B | 3
4000 wooden jig | B | 3
Empty wooden box | B | 3
Laptops (6) | B | 2
Manual | B | 1
Solid water | B | 1
Chevron wedge | B | 1
PostISM solid water | B | 1
Clamp | B | 1
Catphan 504 | B | 1
Leeds TOR | B | 1
Digital level | B | 1
Battery | B | 1
GAMMEX | B | 0
CIRS | B | 0
TSTACK foam | C | 3
Water hose | C | 3
Coaxial cable (long) | C | 3
Spare TNC cables | C | 2
Saline water | C | 2
Calibration light source and plate | C | 2
Catphan 700 | C | 1
Wendi detector | C | 1
Berthold LB134​ | C | 1
Radian metre | C | 1
A box full of gauge | C | 0
Spare DQA3 | C | 0
DQA3 cables | C | 0
Spare cable tidy | C | 0
Casper | D | 3
Thermo plastic mask | D | 3
Glue gun | D | 3
Mallet | D | 3
US-UK convertor | D | 3
Spare centrifuge tubes | D | 2
Culture plates | D | 2
Extension cable | D | 2
Spirit level | D | 2
Digital protractor | D | 2
Tape measure | D | 2
Inclinometre | D | 2
Laser ruler | D | 2
Ruler | D | 2
Thermometer | D | 2
Air duster | D | 2
Wipe | D | 2
Elastic cord | D | 2
Dtype mm – mm pin 1-2 m | D | 2
Dtype mm – mm 1-5 m | D | 2
Sound metre | D | 2
Used battery | D | 2
Label printer | D | 2
Battery charger | D | 2
Calliper | D | 2
Arrays | D | 1
Weight | D | 0
MR 4D phantom | D | 0
TNC cable | E | lower
Ethernet cable | E | upper
USB to USB cable | E | upper
USB type A to USB type B | E | upper
Stopwatch | E | middle
EPD reader | E | middle
DQA3 cable | E | middle
4000 plastic plate | E | lower
RJ45 male/female STP and cross-over adaptor | E | lower