## Sheet1
Item | Shelf | Level
PCB Blade calibration tool | Shelf A | 3
VisionRT Emily | Shelf A | 3
UCL item | Shelf A | 3
Mains lead | Shelf A | 2
Electrometer | Shelf A | 2
EPD | Shelf A | 2
Microdiamond | Shelf A | 2
Farmer chamber (2) | Shelf A | 2
Semiflex chamber (3) | Shelf A | 2
Roos chamber (6) | Shelf A | 2
Markus | Shelf A | 2
Pinpoint | Shelf A | 2
Cable reel | Shelf A | 2
4000 | Shelf A | 1
124 | Shelf A | 1
XRV cables | Shelf A | 1
Talon 124 | Shelf A | 1
VisionRT switchbox | Shelf A | 1
VisionRT cube | Shelf A | 1
VisionRT rigid body | Shelf A | 1
Past point adapter base | Shelf A | 0
Reflector | Shelf A | 0
Tripod | Shelf A | 0
Laser tracker calibration arm | Shelf A | 0
Laser tracker | Shelf A | 0
Faraday cup | Shelf A | 0
Ranger | Shelf B | 3
4000 wooden jig | Shelf B | 3
Empty wooden box | Shelf B | 3
Laptops (6) | Shelf B | 2
Manual | Shelf B | 1
Solid water | Shelf B | 1
Chevron wedge | Shelf B | 1
PostISM solid water | Shelf B | 1
Clamp | Shelf B | 1
Catphan 504 | Shelf B | 1
Leeds TOR | Shelf B | 1
Digital level | Shelf B | 1
Battery | Shelf B | 1
GAMMEX | Shelf B | 0
CIRS | Shelf B | 0
TSTACK foam | Shelf B | 3
Water hose | Shelf B | 3
Coaxial cable (long) | Shelf B | 3
Spare TNC cables | Shelf B | 2
Deionised water bottle | Shelf B | 2
Calibration light source and plate | Shelf B | 2
Catphan 700 | Shelf B | 1
Wendi detector | Shelf B | 1
Berthold LB134​ | Shelf B | 1
Radian metre | Shelf B | 1
A box full of gauge | Shelf B | 0
Spare DQA3 | Shelf B | 0
DQA3 cables | Shelf B | 0
Spare cable tidy | Shelf B | 0
Casper | Shelf B | 3
Thermo plastic mask | Shelf B | 3
Glue gun | Shelf B | 3
Mallet | Shelf B | 3
US-UK convertor | Shelf B | 3
Spare centrifuge tubes | Shelf B | 2
Culture plates | Shelf B | 2
Extension cable | Shelf B | 2
Spirit level | Shelf B | 2
Digital protractor | Shelf B | 2
Tape measure | Shelf B | 2
Inclinometre | Shelf B | 2
Laser ruler | Shelf B | 2
Ruler | Shelf B | 2
Thermometer | Shelf B | 2
Air duster | Shelf B | 2
Wipe | Shelf B | 2
Elastic cord | Shelf B | 2
Dtype mm – mm pin 1-2 m | Shelf B | 2
Dtype mm – mm 1-5 m | Shelf B | 2
Sound metre | Shelf B | 2
Used battery | Shelf B | 2
Label printer | Shelf B | 2
Battery charger | Shelf B | 2
Calliper | Shelf B | 2
Arrays | Shelf B | 1
Weight | Shelf B | 0
MR 4D phantom | Shelf B | 0
TNC cable | Pegboard | lower
Ethernet cable | Pegboard | upper
USB to USB cable | Pegboard | upper
USB type A to USB type B | Pegboard | upper
Stopwatch | Pegboard | middle
EPD reader | Pegboard | middle
DQA3 cable | Pegboard | middle
4000 plastic plate | Pegboard | lower
RJ45 male/female STP and cross-over adaptor | Pegboard | lower